## scenarios_summary_20250702_1813
Scenario | Objective | Gas Generation (GWh) | % Gas increase on baseline | % Gas increase/decrease on 2024-25 (10,919MW) | Wind & Solar Curtailment (GWh) | % increase on baseline | Unserved Energy (GWh) | Unserved by Region (GWh)
0_2024_baseline | NSW1-Black Coal: x1.0 NSW1-Rooftop Solar: x1.0 NSW1-Solar: x1.0 NSW1-Wind: x1.0 NSW1-Battery: x1.0 QLD1-Black Coal: x1.0 QLD1-Rooftop Solar: x1.0 QLD1-Solar: x1.0 QLD1-Wind: x1.0 QLD1-Battery: x1.0 SA1-Rooftop Solar: x1.0 SA1-Solar: x1.0 SA1-Wind: x1.0 SA1-Battery: x1.0 VIC1-Brown Coal: x1.0 VIC1-Rooftop Solar: x1.0 VIC1-Solar: x1.0 VIC1-Wind: x1.0 VIC1-Battery: x1.0 | 1455.085 | 0% | 0% | 2439.406 | 0% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
1_BalancedTransition | NSW1-Black Coal: x0.5 NSW1-Rooftop Solar: x1.2 NSW1-Solar: x1.2 NSW1-Wind: x1.25 NSW1-Battery: x1.5 QLD1-Black Coal: x0.5 QLD1-Rooftop Solar: x1.2 QLD1-Solar: x1.2 QLD1-Wind: x1.25 QLD1-Battery: x1.5 SA1-Rooftop Solar: x1.2 SA1-Solar: x1.2 SA1-Wind: x1.25 SA1-Battery: x1.5 TAS1-Wind: x1.25 TAS1-Battery: x1.5 VIC1-Brown Coal: x0.5 VIC1-Rooftop Solar: x1.2 VIC1-Solar: x1.2 VIC1-Wind: x1.25 VIC1-Battery: x1.5 | 5766.495 | 296.3% | -47.19% | 3895.381 | 59.69% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
2_BalancedAggressiveTransition | NSW1-Black Coal: x0.25 NSW1-Rooftop Solar: x1.25 NSW1-Solar: x1.25 NSW1-Wind: x1.3 NSW1-Battery: x2.0 QLD1-Black Coal: x0.25 QLD1-Rooftop Solar: x1.25 QLD1-Solar: x1.25 QLD1-Wind: x1.3 QLD1-Battery: x2.0 SA1-Rooftop Solar: x1.25 SA1-Solar: x1.25 SA1-Wind: x1.3 SA1-Battery: x2.0 TAS1-Wind: x1.3 TAS1-Battery: x2.0 VIC1-Brown Coal: x0.25 VIC1-Rooftop Solar: x1.25 VIC1-Solar: x1.25 VIC1-Wind: x1.3 VIC1-Battery: x2.0 | 20094.417 | 1281% | 84.03% | 2708.075 | 11.01% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.0_VreStorageRampTransition | NSW1-Black Coal: x0.15 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 19658.728 | 1251% | 80.04% | 534.686 | -78.08% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.1_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 19606.877 | 1247% | 79.57% | 524.123 | -78.51% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.2_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.75 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.75 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 19287.338 | 1226% | 76.64% | 508.146 | -79.17% | 117.541 | {'NSW1': 26.535, 'QLD1': 6.179, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 84.827}
3.3_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.5 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 17251.94 | 1086% | 58% | 486.731 | -80.05% | 1323.598 | {'NSW1': 475.172, 'QLD1': 266.526, 'SA1': 5.351, 'TAS1': 9.157, 'VIC1': 567.392}
4_4xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x4.0 NSW1-Wind: x4.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x4.0 QLD1-Wind: x4.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x4.0 SA1-Wind: x4.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x4.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x4.0 VIC1-Wind: x4.0 VIC1-Battery: x4.0 | 4438.585 | 205% | -59.35% | 101945.43 | 4079% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
5_5xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x5.0 NSW1-Wind: x5.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x5.0 QLD1-Wind: x5.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x5.0 SA1-Wind: x5.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x5.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x5.0 VIC1-Wind: x5.0 VIC1-Battery: x4.0 | 3088.843 | 112.3% | -71.71% | 156881.278 | 6331% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.0_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x6.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2408.857 | 65.55% | -77.94% | 211323.704 | 8563% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.1_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2271.38 | 56.1% | -79.2% | 211215.078 | 8558% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.2_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.75 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.75 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2057.54 | 41.4% | -81.16% | 210998.181 | 8550% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.3_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.5 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 1649.335 | 13.35% | -84.89% | 210764.711 | 8540% | 48.711 | {'NSW1': 17.357, 'QLD1': 6.441, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 24.913}
7.0_6xVre4xRoofZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x4.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x4.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x4.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Gas: x0.5 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x4.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 1589.147 | 9.213% | -85.45% | 229819.359 | 9321% | 44.094 | {'NSW1': 16.64, 'QLD1': 5.067, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 22.387}
8.0_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x1.0 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x1.0 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x1.0 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x1.0 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x1.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 1693.357 | 16.38% | -84.49% | 233551.187 | 9474% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
8.1_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x0.75 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x0.75 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 1343.016 | -7.702% | -87.7% | 233452.538 | 9470% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
8.2_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x0.5 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 992.559 | -31.79% | -90.91% | 233189.508 | 9459% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Source: https://explore.openelectricity.org.au/energy/nem/?range=1y&interval=1w&view=discrete-time&group=Simplified
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note: Baseline is based on current registered facility capacities (operating + committed) from Open Electricity, with a starter 600MW (Cellars Hill) battery added in TAS1 so it can be scaled.
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not realistic due to solver dispatching coal over gas as it has a cheaper marginal price. More like 7.5x this amount (source: Open Electricity, NEM simplified view over 1 year). See column E for better comparison.