## scenarios_summary_20250705_1701
Scenario | Objective | Gas Generation (GWh) | % Gas increase on baseline | % Gas increase/decrease on 2024-25 (10,919MW) | Wind & Solar Curtailment (GWh) | % increase on baseline | Unserved Energy (GWh) | Unserved by Region (GWh)
0_2024_baseline | NSW1-Black Coal: x1.0 NSW1-Rooftop Solar: x1.0 NSW1-Solar: x1.0 NSW1-Wind: x1.0 NSW1-Battery: x1.0 QLD1-Black Coal: x1.0 QLD1-Rooftop Solar: x1.0 QLD1-Solar: x1.0 QLD1-Wind: x1.0 QLD1-Battery: x1.0 SA1-Rooftop Solar: x1.0 SA1-Solar: x1.0 SA1-Wind: x1.0 SA1-Battery: x1.0 VIC1-Brown Coal: x1.0 VIC1-Rooftop Solar: x1.0 VIC1-Solar: x1.0 VIC1-Wind: x1.0 VIC1-Battery: x1.0 | 1464.335 | 0% | 0% | 1877.544 | 0% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
1_BalancedTransition | NSW1-Black Coal: x0.5 NSW1-Rooftop Solar: x1.2 NSW1-Solar: x1.2 NSW1-Wind: x1.25 NSW1-Battery: x1.5 QLD1-Black Coal: x0.5 QLD1-Rooftop Solar: x1.2 QLD1-Solar: x1.2 QLD1-Wind: x1.25 QLD1-Battery: x1.5 SA1-Rooftop Solar: x1.2 SA1-Solar: x1.2 SA1-Wind: x1.25 SA1-Battery: x1.5 TAS1-Wind: x1.25 TAS1-Battery: x1.5 VIC1-Brown Coal: x0.5 VIC1-Rooftop Solar: x1.2 VIC1-Solar: x1.2 VIC1-Wind: x1.25 VIC1-Battery: x1.5 | 6628.457 | 352.7% | -39.29% | 3363.54 | 79.15% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
2_BalancedAggressiveTransition | NSW1-Black Coal: x0.25 NSW1-Rooftop Solar: x1.25 NSW1-Solar: x1.25 NSW1-Wind: x1.3 NSW1-Battery: x2.0 QLD1-Black Coal: x0.25 QLD1-Rooftop Solar: x1.25 QLD1-Solar: x1.25 QLD1-Wind: x1.3 QLD1-Battery: x2.0 SA1-Rooftop Solar: x1.25 SA1-Solar: x1.25 SA1-Wind: x1.3 SA1-Battery: x2.0 TAS1-Wind: x1.3 TAS1-Battery: x2.0 VIC1-Brown Coal: x0.25 VIC1-Rooftop Solar: x1.25 VIC1-Solar: x1.25 VIC1-Wind: x1.3 VIC1-Battery: x2.0 | 22810.97 | 1458% | 108.9% | 2397.443 | 27.69% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.0_VreStorageRampTransition | NSW1-Black Coal: x0.15 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 21922.139 | 1397% | 100.8% | 366.132 | -80.5% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.1_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 21816.628 | 1390% | 99.8% | 363.198 | -80.66% | 15.942 | {'NSW1': 6.814, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 9.128}
3.1.1_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x5.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x5.0 | 21027.757 | 1336% | 92.58% | 190.98 | -89.83% | 4.607 | {'NSW1': 0.145, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 4.462}
3.1.2_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x6.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x6.0 | 20574.529 | 1305% | 88.43% | 137.216 | -92.69% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.2_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.75 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.75 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 21435.971 | 1364% | 96.32% | 360.525 | -80.8% | 229.377 | {'NSW1': 65.954, 'QLD1': 19.492, 'SA1': 0.0, 'TAS1': 0.221, 'VIC1': 143.711}
3.3_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.5 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 19074.969 | 1203% | 74.7% | 347.006 | -81.52% | 1791.957 | {'NSW1': 725.845, 'QLD1': 331.369, 'SA1': 24.007, 'TAS1': 18.229, 'VIC1': 692.509}
4_4xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x4.0 NSW1-Wind: x4.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x4.0 QLD1-Wind: x4.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x4.0 SA1-Wind: x4.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x4.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x4.0 VIC1-Wind: x4.0 VIC1-Battery: x4.0 | 5836.349 | 298.6% | -46.55% | 68521.066 | 3550% | 3.415 | {'NSW1': 1.022, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 2.393}
5_5xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x5.0 NSW1-Wind: x5.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x5.0 QLD1-Wind: x5.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x5.0 SA1-Wind: x5.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x5.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x5.0 VIC1-Wind: x5.0 VIC1-Battery: x4.0 | 3900.052 | 166.3% | -64.28% | 115833.341 | 6069% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.0_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x6.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2985.402 | 103.9% | -72.66% | 167519.413 | 8822% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.1_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2843.977 | 94.22% | -73.95% | 167457.974 | 8819% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.2_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.75 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.75 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2617.907 | 78.78% | -76.02% | 167263.829 | 8809% | 17.742 | {'NSW1': 4.081, 'QLD1': 4.742, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 8.919}
6.3_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.5 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2108.826 | 44.01% | -80.69% | 167040.216 | 8797% | 148.029 | {'NSW1': 60.67, 'QLD1': 20.817, 'SA1': 2.645, 'TAS1': 0.0, 'VIC1': 63.897}
7.0_6xVre4xRoofZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x4.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x4.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x4.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Gas: x0.5 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x4.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2050.447 | 40.03% | -81.22% | 184034.807 | 9702% | 140.146 | {'NSW1': 60.844, 'QLD1': 16.352, 'SA1': 2.46, 'TAS1': 0.0, 'VIC1': 60.49}
8.0_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x1.0 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x1.0 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x1.0 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x1.0 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x1.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 2031.769 | 38.75% | -81.39% | 177535.022 | 9356% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
8.1_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x0.75 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x0.75 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 1684.387 | 15.03% | -84.57% | 177365.458 | 9347% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
8.2_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x0.5 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 1308.748 | -10.63% | -88.01% | 177184.1 | 9337% | 16.453 | {'NSW1': 4.541, 'QLD1': 4.247, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 7.664}
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Bold ones are probably more feasible.
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Source: https://explore.openelectricity.org.au/energy/nem/?range=1y&interval=1w&view=discrete-time&group=Simplified
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note: Baseline is based on current registered facility capacities (operating + committed) from Open Electricity, with a starter 600MW (Cellars Hill) battery added in TAS1 so it can be scaled.
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not realistic due to solver dispatching coal over gas as it has a cheaper marginal price. More like 7.5x this amount (source: Open Electricity, NEM simplified view over 1 year). See column E for better comparison.