## scenarios_summary_20250709_1140
Scenario | Objective | Gas Generation (GWh) | % Gas increase on baseline | % Gas increase/decrease on 2024-25 (10,919MW) | Battery Capacity (GW) | Wind & Solar Curtailment (GWh) | % increase on baseline | Unserved Energy (GWh) | Unserved by Region (GWh)
0_2024_baseline | NSW1-Black Coal: x1.0 NSW1-Rooftop Solar: x1.0 NSW1-Solar: x1.0 NSW1-Wind: x1.0 NSW1-Battery: x1.0 QLD1-Black Coal: x1.0 QLD1-Rooftop Solar: x1.0 QLD1-Solar: x1.0 QLD1-Wind: x1.0 QLD1-Battery: x1.0 SA1-Rooftop Solar: x1.0 SA1-Solar: x1.0 SA1-Wind: x1.0 SA1-Battery: x1.0 VIC1-Brown Coal: x1.0 VIC1-Rooftop Solar: x1.0 VIC1-Solar: x1.0 VIC1-Wind: x1.0 VIC1-Battery: x1.0 | 1658.536 | 0% | 0% | 12.101 | 3650.659 | 0% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
1_BalancedTransition | NSW1-Black Coal: x0.5 NSW1-Rooftop Solar: x1.2 NSW1-Solar: x1.2 NSW1-Wind: x1.25 NSW1-Battery: x1.5 QLD1-Black Coal: x0.5 QLD1-Rooftop Solar: x1.2 QLD1-Solar: x1.2 QLD1-Wind: x1.25 QLD1-Battery: x1.5 SA1-Rooftop Solar: x1.2 SA1-Solar: x1.2 SA1-Wind: x1.25 SA1-Battery: x1.5 TAS1-Wind: x1.25 TAS1-Battery: x1.5 VIC1-Brown Coal: x0.5 VIC1-Rooftop Solar: x1.2 VIC1-Solar: x1.2 VIC1-Wind: x1.25 VIC1-Battery: x1.5 | 6729.924 | 305.8% | -38.37% | 18.152 | 5243.938 | 43.64% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
2_BalancedAggressiveTransition | NSW1-Black Coal: x0.25 NSW1-Rooftop Solar: x1.25 NSW1-Solar: x1.25 NSW1-Wind: x1.3 NSW1-Battery: x2.0 QLD1-Black Coal: x0.25 QLD1-Rooftop Solar: x1.25 QLD1-Solar: x1.25 QLD1-Wind: x1.3 QLD1-Battery: x2.0 SA1-Rooftop Solar: x1.25 SA1-Solar: x1.25 SA1-Wind: x1.3 SA1-Battery: x2.0 TAS1-Wind: x1.3 TAS1-Battery: x2.0 VIC1-Brown Coal: x0.25 VIC1-Rooftop Solar: x1.25 VIC1-Solar: x1.25 VIC1-Wind: x1.3 VIC1-Battery: x2.0 | 22719.985 | 1270% | 108.1% | 24.202 | 3640.076 | -0.2899% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.0_VreStorageRampTransition | NSW1-Black Coal: x0.15 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 21850.697 | 1217% | 100.1% | 48.404 | 584.292 | -83.99% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.1_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 21748.088 | 1211% | 99.18% | 48.404 | 579.735 | -84.12% | 11.38 | {'NSW1': 3.911, 'QLD1': 4.05, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 3.418}
3.1.1_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x5.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x5.0 | 21003.497 | 1166% | 92.36% | 55.103 | 333.624 | -90.86% | 0.689 | {'NSW1': 0.689, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.1.2_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x6.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x6.0 | 20596.053 | 1142% | 88.63% | 61.802 | 219.632 | -93.98% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
3.2_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.75 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.75 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 21347.916 | 1187% | 95.51% | 48.404 | 567.431 | -84.46% | 218.092 | {'NSW1': 54.961, 'QLD1': 31.071, 'SA1': 0.0, 'TAS1': 0.594, 'VIC1': 131.465}
3.3_VreStorageRampGasReduction | NSW1-Black Coal: x0.15 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x1.3 NSW1-Solar: x1.3 NSW1-Wind: x1.5 NSW1-Battery: x4.0 QLD1-Black Coal: x0.15 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x1.3 QLD1-Solar: x1.3 QLD1-Wind: x1.5 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x1.3 SA1-Solar: x1.3 SA1-Wind: x1.5 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x1.5 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.15 VIC1-Gas: x0.5 VIC1-Rooftop Solar: x1.3 VIC1-Solar: x1.3 VIC1-Wind: x1.5 VIC1-Battery: x4.0 | 18965.07 | 1043% | 73.69% | 48.404 | 540.415 | -85.2% | 1774.937 | {'NSW1': 1021.394, 'QLD1': 112.453, 'SA1': 9.825, 'TAS1': 21.435, 'VIC1': 609.831}
4_4xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x4.0 NSW1-Wind: x4.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x4.0 QLD1-Wind: x4.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x4.0 SA1-Wind: x4.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x4.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x4.0 VIC1-Wind: x4.0 VIC1-Battery: x4.0 | 5846.646 | 252.5% | -46.45% | 48.404 | 100763.369 | 2660% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
5_5xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x5.0 NSW1-Wind: x5.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x5.0 QLD1-Wind: x5.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x5.0 SA1-Wind: x5.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x5.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x5.0 VIC1-Wind: x5.0 VIC1-Battery: x4.0 | 3975.054 | 139.7% | -63.6% | 48.404 | 152307.942 | 4072% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.0_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Battery: x4.0 TAS1-Wind: x6.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 3073.304 | 85.3% | -71.85% | 48.404 | 207478.868 | 5583% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.1_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.9 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.9 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.9 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.9 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.9 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2915.232 | 75.77% | -73.3% | 48.404 | 207368.866 | 5580% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
6.2_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.75 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.75 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2657.586 | 60.24% | -75.66% | 48.404 | 207168.834 | 5575% | 9.98 | {'NSW1': 7.481, 'QLD1': 0.596, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 1.902}
6.3_6xVreTransitionZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x2.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x2.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x2.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Brown Coal: x0.0 VIC1-Gas: x0.5 VIC1-Rooftop Solar: x2.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2131.354 | 28.51% | -80.48% | 48.404 | 206924.447 | 5568% | 105.916 | {'NSW1': 59.688, 'QLD1': 9.855, 'SA1': 1.088, 'TAS1': 0.0, 'VIC1': 35.284}
7.0_6xVre4xRoofZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x4.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x4.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x4.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x4.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x4.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x4.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x4.0 VIC1-Gas: x0.5 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x4.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x4.0 | 2078.507 | 25.32% | -80.96% | 48.404 | 257773.764 | 6961% | 99.452 | {'NSW1': 48.267, 'QLD1': 16.704, 'SA1': 1.109, 'TAS1': 0.0, 'VIC1': 33.372}
8.0_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x1.0 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x1.0 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x1.0 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x1.0 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x1.0 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 2190.61 | 32.08% | -79.94% | 72.606 | 283798.067 | 7674% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
8.1_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.75 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.75 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x0.75 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x0.75 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x0.75 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 1783.576 | 7.539% | -83.67% | 72.606 | 283482.728 | 7665% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
8.2_6xVre&BatteryZeroCoal | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x6.0 NSW1-Solar: x6.0 NSW1-Wind: x6.0 NSW1-Battery: x6.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x6.0 QLD1-Solar: x6.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x6.0 SA1-Solar: x6.0 SA1-Wind: x6.0 SA1-Battery: x6.0 TAS1-Gas: x0.5 TAS1-Wind: x6.0 TAS1-Battery: x6.0 VIC1-Gas: x0.5 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x6.0 VIC1-Solar: x6.0 VIC1-Wind: x6.0 VIC1-Battery: x6.0 | 1359.253 | -18.05% | -87.55% | 72.606 | 283158.02 | 7656% | 8.681 | {'NSW1': 4.541, 'QLD1': 4.108, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.032}
8.2.1_6xVreCurtailReview | NSW1-Black Coal: x0.0 NSW1-Gas: x0.5 NSW1-Rooftop Solar: x3.0 NSW1-Solar: x3.0 NSW1-Wind: x6.0 NSW1-Battery: x8.0 QLD1-Black Coal: x0.0 QLD1-Gas: x0.5 QLD1-Rooftop Solar: x3.0 QLD1-Solar: x3.0 QLD1-Wind: x6.0 QLD1-Battery: x6.0 SA1-Gas: x0.5 SA1-Rooftop Solar: x2.0 SA1-Solar: x3.0 SA1-Wind: x2.0 SA1-Battery: x6.0 TAS1-Gas: x0.5 TAS1-Rooftop Solar: x3.0 TAS1-Wind: x5.0 TAS1-Battery: x8.0 VIC1-Gas: x0.5 VIC1-Brown Coal: x0.0 VIC1-Rooftop Solar: x4.0 VIC1-Solar: x4.0 VIC1-Wind: x4.0 VIC1-Battery: x8.0 | 1927.023 | 16.19% | -82.35% | 87.204 | 89744.276 | 2358% | 0 | {'NSW1': 0.0, 'QLD1': 0.0, 'SA1': 0.0, 'TAS1': 0.0, 'VIC1': 0.0}
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Source: https://explore.openelectricity.org.au/energy/nem/?range=1y&interval=1w&view=discrete-time&group=Simplified
Note on F21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Note: this is approx. double what Alex Wonhas mentioned in this article: Australia may need twice as many big batteries to make up for lost wind ¦ RenewEconomy Part of this could be home batteries, which in turn reduce demand.